Greener Houses Growing Greener Neighbourhoods

Watsonia Neighbourhood House Retrofit Priorities

All proposed items based on retrofit plan developed by Greener Houses volunteers and subject to final consultation with staff and Committee of Management.

First package of funding available is ~$20,000.   Additional funding of ~$40,000 to become available early 2011.

- HIGH PRIORITY ITEMS

| Item | Practical in view of re-development plans? | To be undertaken in 1st package of works |
| --- | --- | --- |
| Insulation |  |  |
| Ceiling - Top up with insulation with highest R value possible | Yes | Yes - EcoMaster to install (after Solatubes – see below) |
| External walls - Insulate outer wall; It is possible to do this in a brick veneer house | Partial – north, west and most of east walls | Yes - complete |
| Gaps |  |  |
| Fireplace in front room – Remove old gas heater and seal fireplace | Yes |  |
| Windows and Glazing |  |  |
| Most windows are difficult to open (not portable) – fix or replace so they can be used to control temperature and air flow | Yes - fix key windows – Council responsibility? |  |
| All windows – Install Eco-glazing except portable building | No – except possibly for selected windows for demonstration purposes – eg computer room? | Computer room only – EcoMaster to install. |
| Shading |  |  |
| Computer room - Install adjustable, accessible external blinds outside computer room windows on north and east sides | Yes | Yes - completed |
| Window treatments |  |  |
| All windows – Install curtains or blinds & pelmets | Yes – subject to consultation with staff & CoM | Yes- Drapes and blinds chosen and ordered; pelmets yet to be ordered |
| Lighting |  |  |
| All room in main house – replace bulbs w/ energy efficient ones | Yes |  |
| Portable room – install a splitter and motion detector, install reflectors to aim light downward | Yes |  |

- MEDIUM PRIORITY ITEMS

| Item | Practical in view of re-development plans? | To be undertaken in 1st package of works |
| --- | --- | --- |
| Heating |  |  |
| Install passive heat capture system in the attic (eg Smartbreeze; or solamate) | Yes | Yes – preferably prior to ceiling insulation. Preferred system tbc. |
| Ventilation |  |  |
| Window in toilet – Install a sash window to replace permanently open glass louvers | Probably not worth it. Ensure door draught seal is good. | Improve draught seal – and undertaken some other draught sealing. EcoMaster to install. |
| Office – Install secure vent to foyer & o/side to cool this small space | Highly desirable |  |
| Skylight – solar tubes |  |  |
| Kitchen, eating room, foyer, office – Install one solar tube in each | Possibly – further discussion required | Yes |
| Water |  |  |
| Garden – Install more tanks to capture more water for garden | Yes |  |
| Front Meeting Room |  |  |
| Replace front picture window with double doors or slider leading to front garden | Yes – advice from architect |  |
| Renewable energy |  |  |
| Install Solar electricity PV system | Yes |  |

Sept 2010; updated Feb 2011